## Slide 1: Validation of CGEM alignment package
Aiqiang Guo, Ryan Mitchell , Linghui Wu
Indiana University
IHEP

## Slide 2: Track based alignment – Millepede for Cgem
Strategy: obtain the mis-alignment information by fit the track with least-square method.
To reduce the computing time, we transfer the local information (track parameters) to the global (detector mis-alignment parameters) Hessian C (“Schur complement”)
For each layer, 4 possible parameters: dx, dy, dz, qz
Residual
dy
Y
X
Z
dx
dz
qz

## Slide 3: Status in last workshop
Validate the algorithm with 5000 signal muon events
Generate MC with and without mis-alignment
Hit position, residual and derivatives are checked
Compare input/output, but found that the output values are inconsistent with input values
Input DeltaX= 1.5 mm for layer1

## Slide 4: Progress: More MC
Simulate more MC with random incident angles
50,000 events for each different type of mis-alignment effect
Initial position: Y = 200 mm X -40, 40]mm Z -200, 200]mm
Incident angle: cos()-0.426 0.426] [-2.636 -0.5054]

## Slide 5: Progress: More MC
Simulate more MC with random incident angles
50,000 events for each different type of mis-alignment effect
Initial position: Y = 200 mm X -40, 40]mm Z -200, 200]mm
Incident angle: cos()-0.426 0.426] [-2.636 -0.5054]
Vertical tracks are insensitive to the shift in Y

## Slide 6: Set errors of and V according to simulation
L1
L2
L3
L1
L2
L3

## Slide 7: Cluster position and track trajectory
Input mis-alignment: dz = 1.5mm for layer1
expected
measured
Difference between red and blue dots

## Slide 8: Cluster position and track trajectory
Input mis-alignment: = 0.06 rad for layer1
Difference between red and blue dots

## Slide 9: Constrain the outermost layer
Because the track parameters and the position of detector are all floated in the fit, the shift or rotation of whole system will produce an unstable fit result

## Slide 10: Constrain the outermost layer
Because the track parameters and the position of detector are all floated in the fit, the shift or rotation of whole system will produce an unstable fit result
Outermost layer is fixed

## Slide 11: Check the derivatives
The abnormal derivatives are due to the discontinuous distribution of
at =0

## Slide 12: Check the derivatives
The abnormal derivatives are due to the discontinuous distribution of
at =0
V at =0 and =

## Slide 13: Check the derivatives
The abnormal derivatives are due to the discontinuous distribution of
at =0
V at =0 and =

## Slide 14: Check the derivatives
After filter

## Slide 15: and solution vs iteration
Input dz = 1.5 mm
~24000 tracks are used in the fit
Output

## Slide 16: Input output comparison and summary
Input output comparison (layer1)
Mis-alginment | Input (mm) | Output (mm) | Error (mm)
Shift in x | 2.0 | 2.0009 | 0.0008
Shift in y | 2.0 | 1.9010 | 0.002
Shift in z | 1.5 | 1.5003 | 0.002
Rotation around z | 0.06 | 0.0600 | 0.00001

## Slide 17: Input output comparison and summary
Input output comparison (layer1)
Summary and outlook:
  Millipede alignment algorithm is tested with more MC
  Some improvements are made:
    Some parameters are optimized
    More constraint is applied
    Bad hits are removed
  Output results are consistent with the input!
  Next step: study more complex mis-alignment situations.
Mis-alginment | Input (mm) | Output (mm) | Error (mm)
Shift in x | 2.0 | 2.0009 | 0.0008
Shift in y | 2.0 | 1.9010 | 0.002
Shift in z | 1.5 | 1.5003 | 0.002
Rotation around z | 0.06 | 0.0600 | 0.00001