## Slide 1: Detector concepts for CepC
The detectors
Detector requirements
Ongoing R&D
Concluding comments
Franco Bedeschi.
CepC International Workshop,
Beijing, November 2019
OUTLINE

## Slide 2: Detector concepts for CepC
ILD-like (baseline) w/ PF calorimetry & TPC
Alternate detector, IDEA w/ DR calorimetry & Drift Ch.
Baseline concept
FST concept
IDEA concept
/SiD-like /Si

## Slide 3: Detector concepts FCCee
CLD (CLIC like): PF calorimetry/Si
IDEA: DR calorimetry/Drift chamber
Yoke/m chambers
Yoke/m chambers
Calorimeter
Solenoid
DCH

## Slide 4: Detector requirements
Requirements:
  Constraints from physics (similar to LC …. more or less)
  Additional constraints
    Excellent acceptance and luminosity control
    PID & p0 ID for HF/t physics
    Low B field to avoid emittance blow up
    Power pulsing not allowed
Not present at LC
From CDR
Too tight?
Too tight?
Not enough?
Not enough?

## Slide 5: Momentum resolution
Z or H decay muons in ZH events have rather small pt
  Transparency more relevant than asymptotic resolution
ZH (Hmm)
Muon pt
ZH (Zmm)
Muon pt
90 degree

## Slide 6: Transparency
Comparison
  FST, IDEA, CLD
    CLD old design – pessimistic
    FST very new – optimistic
  R&D important
    Design/materials
    No cooling
FST

## Slide 7: VTX resolution
5 mm resolution demonstrated with 30 mm pads
  ALICE ITK: ALPIDE
sD ~ 65% sRf
  ~ 2 mm with 20 mm pad
Limited by:
  Alignment
  Mechanical stability
  Transparency
    @low momentum

## Slide 8: Luminosity
Event rates scale with luminosity – Highest at Z pole
  Physics ~ 50 kHz @1e36, crossings 40 MHz
    Faster detectors integrate less background
    Readout < few ms to avoid dead time/event overlap
  Large solenoid field  reduce luminosity at Z pole
from Jie Gao, Korea 2019

## Slide 9: Calorimeter resolution (jets)
Separation of HZZ* from H WW*
  3-4% @ 100 GeV adequate – Can it be worse?
Recoil mass in HZ (Zqq)
Hqq

## Slide 10: Calorimeter resolution (g)
Is 20%/sqrt(E) acceptable? Can we trigger on single g?
What about radiative return analysis?
  Eg. Nn, and Z ne ne
Only ne interfere
Need 5-10%/sqrt(E)
for a good measurement
s(gne): 18% 1.4-2.4%
- Worse resolution make separation difficult

## Slide 11: Calorimeter separation (g)
Transverse granularity below 1 cm seems adequate
Extreme granularity achievable with DR
  At a cost ….
Zt+t-
t+r+np+p0n
Dg cm @ 2 m
50 GeV electrons
100 GeV p0

## Slide 12
(Some)
Detector R&D

## Slide 13: VTX R&D
Goals:
  Resolution/efficiency
  Power vs readout speed
    Low power for speed needed  air cooling (< 20 mW/cm2)
  High transparency/stable construction
Main efforts:
  MOST2 - China
    Continuation of extensive past R&D
  ARCADIA
    INFN - Italy
DAQ based on previous CERN experience
Final chips available by 2021
Matisse: small scale demonstrator

## Slide 14: Large area Si R&D
So far relies mostly on work done for LHC upgrades
  Detectors obtained with standard CMOS process
    HV-CMOS
    Passive CMOS
  Some of these techniques may apply also for vertex detectors
Some dedicated pixelated R&D is just starting (SUPIX-2)

## Slide 15: TPC R&D
Issues:
  IBF & Distortion
    Study with 10 cm GEM-MM module
  Calibration
    Correct distortions
    Scaled prototype
  FE chip
    Low power ASIC
      65 nm

## Slide 16: Drift Chamber R&D
Main issues:
  Mechanical structure
  Wire strength
  Cluster counting electronics for PID
    Of interest to TPC
Gas envelope
Wire Cage

## Slide 17: PF Calorimeter R&D
EM calorimeter
HAD calorimeter
Baseline det.

## Slide 18: PF calorimeter R&D
Very large R&D activity and many options
  Baseline options studied for ILC with CALICE
  Large prototypes tested
Big effort toward solutions based on Scintillator with SiPM readout
EM: Si-W
HAD: SDHCAL
With RPC

## Slide 19: PF: EM Scintillator
Replace Silicon with scintillator tiles readout by SiPM
  Much cheaper  prototype in progress
  30 layers W(3 mm)/(2+2 mm) Sc.+board  total 24 X0
  Cell size 5x45 mm2 – 11 M machine wrapped tiles
  Readout chip ready SPIROC-2e
  Expected performance better than Si
    Concern about uniformity/stability

## Slide 20: PF: HAD Analog
Scintillator with SiPM readout
  Cell size 3x3 cm2 (other sizes tested)
  Synergy with Scintillator ECAL
    Readout electronics
    Wrapping/gluing machines
Prototype preparation
  0.5 m x 0,5 m x 35 layers

## Slide 21: DR calorimeter R&D
Testing new mechanical options
  Spaghetti  bucatini – Prototype in progress 10x10x100 cm3
Compact readout with CAEN FERS based on Citiroc
  64 ch/board with TDC  4096 ch/controller
Interest for SiREAD (timing = longitudinal segmentation)
  New version: 64 ch with 4 GHz ADC and feature extraction

## Slide 22: Crystal calorimeter R&D
Gaining interest
  Several options explored with simulation
from Yong Liu

## Slide 23: Muon chambers R&D
RPC – Same as SDHCAL
mRwell:
  Concept proved
  R&D for
    Industrialization
    Cost reduction
    DLC+Cu sputtering
CMS GE2/1 with 2 mRwell 2 m x 1.2 m

## Slide 24: Solenoid R&D
Significant reduction of baseline detector yoke
Progress in aluminum stabilized coil and cryogenics
HTS cable development for IDEA started

## Slide 25: Final comments
Detector concepts explore different technologies
  Final detectors will probably be a mixture
  Good to explore many options
Detector requirements still need better definition
  Potential large impact on detector design
Several R&D’s in progress
  Main issues are targeted – Need to converge
  ...but need better coordination and planning
    Limited resources everywhere due to LHC upgrades
    How much time do we still have for R&D?
Scenarios and associated plans are difficult in times of uncertainty, but we must have at least an evolving plan

## Slide 26: Backup
BACKUP